## Slide 1
Nishant Maniam1, Alexander Cerjanic2,3 and Brad Sutton2,3 1Department of Computer Science, University of Illinois at Urbana-Champaign, 2Department of Bioengineering, College of Engineering, University of Illinois at Urbana-Champaign, 3Beckman Institute, University of Illinois at Urbana-Champaign
ACKNOWLEDGEMENTS
- We acknowledge the support of the P.U.R.E Project.
- AC is supported by the National Institutes of Health grants R01EB018107 and F30AG055283.
FUTURE WORK
Continuous Integration with an automation server to simplify the contribution and development process.
Run tests using varied data gathered at the lab with the ISMRMRD-ready PowerGrid.
Submit a pull-request to ISMRMRD to update their repository so that others can use this library successfully.
REFERENCES
Nishimura, Dwight G. Principles of Magnetic Resonance Imaging. Stanford, CA: Stanford Univ., 1996.
Inati, S. J., et al. (2016), ISMRM Raw data format: A proposed standard for MRI raw datasets. Magn. Reson. Med.. doi:10.1002/mrm.26089
Phil Nash (2013) CATCH (1.5.9) [Source Code] https://github.com/philsquared/Catch
Integrating An Open-Source Data Format with PowerGrid Software
CONCLUSION
ISMRMRD Library was successfully integrated with PowerGrid software enabling reconstruction of larger filesize inputs, and making the project more conducive to interoperating with other open-sourced projects.
The ISMRMRD Library was updated to fix a critical error that prevented usage.
Unit Tests were packaged in the build systems allowing for easy setup and ensuring that the software works correctly on all platforms.
PROJECT GOALS
Bring ISMRMRD Support to PowerGrid.
  Proprietary Formats are not conducive to collaboration and interoperability with other open source projects.
  Current format restricts input file sizes to less than 2 gigabytes.
Package robust test-cases for the various reconstruction algorithms using the ISMRMRD executable.
  Unit Tests ensure that the critical pieces of code are producing correct output on end-user’s machines.
BACKGROUND
.mat
.mat
.mat
PowerGrid
.mat
.mat
.mat
MATLAB I/O
.h5
PowerGrid
.h5
Using ISMRMRD
Offline Reconstruction
Reconstructed Image
Acquired Raw Data
MRI - Magnetic Resonance Imaging is an technique utilising magnetic fields to image the internals of the body similar to CT or X-Ray scans.
PowerGrid –A non-Cartesian image reconstruction software developed at the Magnetic Resonance Functional Imaging Lab using iterative reconstruction via Fourier transform parallelized over a GPU.
ISMRMRD - An open source standardized raw data exchange format designed for MRI. Uses the HDF family of file formats to store raw data.
METHOD/PROCESS
template <typename T> void appendImage(const std::string &var, const Image<T> &im);
void appendImage(const std::string &var, const ISMRMRD_Image *im);
template <typename T> void readImage(const std::string &var, uint32_t index, Image<T> &im);
void readImage(const std::string &var, uint32_t, ISMRMRD_Image *im);
uint32_t getNumberOfImages(const std::string &var);
template <typename T> void appendNDArray(const std::string &var, const NDArray<T> &arr);
void appendNDArray(const std::string &var, const ISMRMRD_NDArray *arr);
template <typename T> void readNDArray(const std::string &var, uint32_t index, NDArray<T> &arr);
void readNDArray(const std::string &var, uint32_t index, ISMRMRD_NDArray *arr);
uint32_t getNumberOfNDArrays(const std::string &var);
Timeline
Initial State
  Code threw compile errors to begin with.
  No Usable output.
Achieving Compilation
  Correcting ISMRMRD source code.
    An error was discovered in a section of an ISMRMRD header file that prevented our functions from correctly pulling data.
    We rectified this in the library so that we can make use of their provided functions.
Ensuring Correct Output
  Unit Testing was implemented through the open-source CATCH framework.
    Tests for each of reconstruction algorithm against invariant functions.
    Packaged with CMake.
arma::Col<double> FM; arma::Col<std::complex<double> > sen; ISMRMRD::Dataset *d; ISMRMRD::IsmrmrdHeader hdr; processISMRMRDInput(rawDataFilePath, d, hdr, FM, sen); savemat("testFM.mat", "FM", FM); savemat("testSen.mat", "sen", sen);
C++ Code that pulls data from the ISMRMRD Dataset
openISMRMRDData(inputDataFile, d, hdr);
sen = getISMRMRDSenseMap<std::complex<T1>>(d);
FM = getISMRMRDFieldMap<T1>( );
Preprocessing code extracting a FieldMap and SenseMap matrix from a single .h5 input file
Integrating ISMRMRD
Packaging Tests
Using the CATCH framework, implement Unit tests for each of the reconstruction algorithms
Package the unit testing using CMake to ensure ease-of-use for the end-users.